## Deny-rule mapping
Fam | Example device name | Normalised name (if differs) | Matched signal (token / profile / telemetry) | Signal class | Switch telemetry? | Resulting kind | Resulting deviceType | controllable | control | Turn OFF button rendered? | Control scope tile? | Write-guard (validateCommand 'switch') result | Rationale / notes (rule branch fired + precedence + code-vs-design)
1 | gk-6261-fridge-1 | (same) | REFRIG_APPLIANCE 'fridge' (substring of norm); telemetry switch_1 present | appliance-noun | yes | fridge | refrigeration | false | null | No | No (fridge kind is in no control group; Kitchen tile never lights) | Rejected — 'Refrigeration (monitor-only) does not support remote on/off switching' (empty commands + explicit deviceType backstop) | Deny branch 1 (hasAppliance) fires FIRST — returns before capability-first switch intent; override NOT consulted. Appliance noun => always monitor-only. CODE-VS-DESIGN: deny+'refrigeration' registry key are DESIGN-ONLY (not yet in code); CURRENT code = LEAK: switch signal -> kind:kitchen/tuya/controllable, Turn OFF rendered, guard would ACCEPT.
1 | gk-6261-fridge-1 | (same) | REFRIG_APPLIANCE 'fridge' (substring of norm); no switch telemetry (temperature only) | appliance-noun | no | fridge | refrigeration | false | null | No | No (fridge kind is in no control group) | Rejected — monitor-only (empty commands + backstop) | Deny branch 1 (hasAppliance) fires regardless of telemetry => consistent monitor-only typing. CODE-VS-DESIGN: DESIGN-ONLY; CURRENT code with no switch/no setpoint -> matchAssetIntent has no fridge token -> kind:unknown/gateway/monitor-only (still not controllable, but mislabelled).
1 | gk-6261-freezer-1 | (same) | REFRIG_APPLIANCE 'freezer' (substring of norm); telemetry switch_1 present | appliance-noun | yes | fridge | refrigeration | false | null | No | No (fridge kind is in no control group; Kitchen tile never lights) | Rejected — 'Refrigeration (monitor-only) does not support remote on/off switching' (empty commands + explicit deviceType backstop) | Deny branch 1 (hasAppliance) fires FIRST — returns before capability-first switch intent; override NOT consulted. Appliance noun => always monitor-only. CODE-VS-DESIGN: deny+'refrigeration' registry key are DESIGN-ONLY (not yet in code); CURRENT code = LEAK: switch signal -> kind:kitchen/tuya/controllable, Turn OFF rendered, guard would ACCEPT.
1 | gk-6261-freezer-1 | (same) | REFRIG_APPLIANCE 'freezer' (substring of norm); no switch telemetry (temperature only) | appliance-noun | no | fridge | refrigeration | false | null | No | No (fridge kind is in no control group) | Rejected — monitor-only (empty commands + backstop) | Deny branch 1 (hasAppliance) fires regardless of telemetry => consistent monitor-only typing. CODE-VS-DESIGN: DESIGN-ONLY; CURRENT code with no switch/no setpoint -> matchAssetIntent has no fridge token -> kind:unknown/gateway/monitor-only (still not controllable, but mislabelled).
1 | gk-6261-chiller-1 | (same) | REFRIG_APPLIANCE 'chiller' (substring of norm); telemetry switch_1 present | appliance-noun | yes | fridge | refrigeration | false | null | No | No (fridge kind is in no control group; Kitchen tile never lights) | Rejected — 'Refrigeration (monitor-only) does not support remote on/off switching' (empty commands + explicit deviceType backstop) | Deny branch 1 (hasAppliance) fires FIRST — returns before capability-first switch intent; override NOT consulted. Appliance noun => always monitor-only. CODE-VS-DESIGN: deny+'refrigeration' registry key are DESIGN-ONLY (not yet in code); CURRENT code = LEAK: switch signal -> kind:kitchen/tuya/controllable, Turn OFF rendered, guard would ACCEPT.
1 | gk-6261-chiller-1 | (same) | REFRIG_APPLIANCE 'chiller' (substring of norm); no switch telemetry (temperature only) | appliance-noun | no | fridge | refrigeration | false | null | No | No (fridge kind is in no control group) | Rejected — monitor-only (empty commands + backstop) | Deny branch 1 (hasAppliance) fires regardless of telemetry => consistent monitor-only typing. CODE-VS-DESIGN: DESIGN-ONLY; CURRENT code with no switch/no setpoint -> matchAssetIntent has no fridge token -> kind:unknown/gateway/monitor-only (still not controllable, but mislabelled).
1 | gk-6261-coldroom-1 | (same) | REFRIG_APPLIANCE 'coldroom' (substring of norm); telemetry switch_1 present | appliance-noun | yes | fridge | refrigeration | false | null | No | No (fridge kind is in no control group; Kitchen tile never lights) | Rejected — 'Refrigeration (monitor-only) does not support remote on/off switching' (empty commands + explicit deviceType backstop) | Deny branch 1 (hasAppliance) fires FIRST — returns before capability-first switch intent; override NOT consulted. Appliance noun => always monitor-only. CODE-VS-DESIGN: deny+'refrigeration' registry key are DESIGN-ONLY (not yet in code); CURRENT code = LEAK: switch signal -> kind:kitchen/tuya/controllable, Turn OFF rendered, guard would ACCEPT.
1 | gk-6261-coldroom-1 | (same) | REFRIG_APPLIANCE 'coldroom' (substring of norm); no switch telemetry (temperature only) | appliance-noun | no | fridge | refrigeration | false | null | No | No (fridge kind is in no control group) | Rejected — monitor-only (empty commands + backstop) | Deny branch 1 (hasAppliance) fires regardless of telemetry => consistent monitor-only typing. CODE-VS-DESIGN: DESIGN-ONLY; CURRENT code with no switch/no setpoint -> matchAssetIntent has no fridge token -> kind:unknown/gateway/monitor-only (still not controllable, but mislabelled).
1 | gk-6261-cold-room-1 | (same) | REFRIG_APPLIANCE 'cold-room' (substring of norm); telemetry switch_1 present | appliance-noun | yes | fridge | refrigeration | false | null | No | No (fridge kind is in no control group; Kitchen tile never lights) | Rejected — 'Refrigeration (monitor-only) does not support remote on/off switching' (empty commands + explicit deviceType backstop) | Deny branch 1 (hasAppliance) fires FIRST — returns before capability-first switch intent; override NOT consulted. Appliance noun => always monitor-only. CODE-VS-DESIGN: deny+'refrigeration' registry key are DESIGN-ONLY (not yet in code); CURRENT code = LEAK: switch signal -> kind:kitchen/tuya/controllable, Turn OFF rendered, guard would ACCEPT.
1 | gk-6261-cold-room-1 | (same) | REFRIG_APPLIANCE 'cold-room' (substring of norm); no switch telemetry (temperature only) | appliance-noun | no | fridge | refrigeration | false | null | No | No (fridge kind is in no control group) | Rejected — monitor-only (empty commands + backstop) | Deny branch 1 (hasAppliance) fires regardless of telemetry => consistent monitor-only typing. CODE-VS-DESIGN: DESIGN-ONLY; CURRENT code with no switch/no setpoint -> matchAssetIntent has no fridge token -> kind:unknown/gateway/monitor-only (still not controllable, but mislabelled).
1 | gk-6261-cold_room-1 | gk-6261-cold-room-1 | REFRIG_APPLIANCE 'cold-room (via _->- )' (substring of norm); telemetry switch_1 present | appliance-noun | yes | fridge | refrigeration | false | null | No | No (fridge kind is in no control group; Kitchen tile never lights) | Rejected — 'Refrigeration (monitor-only) does not support remote on/off switching' (empty commands + explicit deviceType backstop) | Deny branch 1 (hasAppliance) fires FIRST — returns before capability-first switch intent; override NOT consulted. Appliance noun => always monitor-only. CODE-VS-DESIGN: deny+'refrigeration' registry key are DESIGN-ONLY (not yet in code); CURRENT code = LEAK: switch signal -> kind:kitchen/tuya/controllable, Turn OFF rendered, guard would ACCEPT.
1 | gk-6261-cold_room-1 | gk-6261-cold-room-1 | REFRIG_APPLIANCE 'cold-room (via _->- )' (substring of norm); no switch telemetry (temperature only) | appliance-noun | no | fridge | refrigeration | false | null | No | No (fridge kind is in no control group) | Rejected — monitor-only (empty commands + backstop) | Deny branch 1 (hasAppliance) fires regardless of telemetry => consistent monitor-only typing. CODE-VS-DESIGN: DESIGN-ONLY; CURRENT code with no switch/no setpoint -> matchAssetIntent has no fridge token -> kind:unknown/gateway/monitor-only (still not controllable, but mislabelled).
1 | gk-6261-cold room 1 | (same, spaces kept) | REFRIG_APPLIANCE 'cold room' (substring of norm); telemetry switch_1 present | appliance-noun | yes | fridge | refrigeration | false | null | No | No (fridge kind is in no control group; Kitchen tile never lights) | Rejected — 'Refrigeration (monitor-only) does not support remote on/off switching' (empty commands + explicit deviceType backstop) | Deny branch 1 (hasAppliance) fires FIRST — returns before capability-first switch intent; override NOT consulted. Appliance noun => always monitor-only. CODE-VS-DESIGN: deny+'refrigeration' registry key are DESIGN-ONLY (not yet in code); CURRENT code = LEAK: switch signal -> kind:kitchen/tuya/controllable, Turn OFF rendered, guard would ACCEPT.
1 | gk-6261-cold room 1 | (same, spaces kept) | REFRIG_APPLIANCE 'cold room' (substring of norm); no switch telemetry (temperature only) | appliance-noun | no | fridge | refrigeration | false | null | No | No (fridge kind is in no control group) | Rejected — monitor-only (empty commands + backstop) | Deny branch 1 (hasAppliance) fires regardless of telemetry => consistent monitor-only typing. CODE-VS-DESIGN: DESIGN-ONLY; CURRENT code with no switch/no setpoint -> matchAssetIntent has no fridge token -> kind:unknown/gateway/monitor-only (still not controllable, but mislabelled).
1 | gk-6261-refrigeration-1 | (same) | REFRIG_APPLIANCE 'refrigeration' (substring of norm); telemetry switch_1 present | appliance-noun | yes | fridge | refrigeration | false | null | No | No (fridge kind is in no control group; Kitchen tile never lights) | Rejected — 'Refrigeration (monitor-only) does not support remote on/off switching' (empty commands + explicit deviceType backstop) | Deny branch 1 (hasAppliance) fires FIRST — returns before capability-first switch intent; override NOT consulted. Appliance noun => always monitor-only. CODE-VS-DESIGN: deny+'refrigeration' registry key are DESIGN-ONLY (not yet in code); CURRENT code = LEAK: switch signal -> kind:kitchen/tuya/controllable, Turn OFF rendered, guard would ACCEPT.
1 | gk-6261-refrigeration-1 | (same) | REFRIG_APPLIANCE 'refrigeration' (substring of norm); no switch telemetry (temperature only) | appliance-noun | no | fridge | refrigeration | false | null | No | No (fridge kind is in no control group) | Rejected — monitor-only (empty commands + backstop) | Deny branch 1 (hasAppliance) fires regardless of telemetry => consistent monitor-only typing. CODE-VS-DESIGN: DESIGN-ONLY; CURRENT code with no switch/no setpoint -> matchAssetIntent has no fridge token -> kind:unknown/gateway/monitor-only (still not controllable, but mislabelled).
1 | gk-6261-refrig-1 | (same) | REFRIG_APPLIANCE 'refrig' (substring of norm); telemetry switch_1 present | appliance-noun | yes | fridge | refrigeration | false | null | No | No (fridge kind is in no control group; Kitchen tile never lights) | Rejected — 'Refrigeration (monitor-only) does not support remote on/off switching' (empty commands + explicit deviceType backstop) | Deny branch 1 (hasAppliance) fires FIRST — returns before capability-first switch intent; override NOT consulted. Appliance noun => always monitor-only. CODE-VS-DESIGN: deny+'refrigeration' registry key are DESIGN-ONLY (not yet in code); CURRENT code = LEAK: switch signal -> kind:kitchen/tuya/controllable, Turn OFF rendered, guard would ACCEPT.
1 | gk-6261-refrig-1 | (same) | REFRIG_APPLIANCE 'refrig' (substring of norm); no switch telemetry (temperature only) | appliance-noun | no | fridge | refrigeration | false | null | No | No (fridge kind is in no control group) | Rejected — monitor-only (empty commands + backstop) | Deny branch 1 (hasAppliance) fires regardless of telemetry => consistent monitor-only typing. CODE-VS-DESIGN: DESIGN-ONLY; CURRENT code with no switch/no setpoint -> matchAssetIntent has no fridge token -> kind:unknown/gateway/monitor-only (still not controllable, but mislabelled).
2 | gk-6261-cellar-1 | (same) | REFRIG_LOCATION 'cellar' (substring); telemetry switch_1 present; no CTRL_OVERRIDE token | location | yes | fridge | refrigeration | false | null | No | No (fridge kind; Kitchen tile stays 'none'/'mon' on a cellar-only site) | Rejected — monitor-only (empty commands + backstop) | Deny branch: hasLocation true, hasAppliance false, override=false => deny returns true. The CORE leak device (design fixture switch_1:false still counts as switch signal). Precedence: deny > capability-first switch. CODE-VS-DESIGN: DESIGN-ONLY; CURRENT code -> kitchen/tuya/controllable (leak).
3 | gk-6261-cellar-light-1 | (same) | REFRIG_LOCATION 'cellar' + CTRL_OVERRIDE 'light' (≥5 chars, substring) | controllable-override | yes | lighting | tuya | true | switchDesired | Yes | Lighting -> ctl | Accepted — 'switch' in tuya commands, boolean required -> attribute switchDesired | Deny branch: hasLocation true, hasAppliance false, override=true ('light' substring) => deny returns false => falls through to normal classify. Override wins over bare location. matchAssetIntent 'light' (len5) glue-matches -> kind lighting. Consistent code & design.
3 | gk-6261-cellarlight-1 | (same) | REFRIG_LOCATION 'cellar' + CTRL_OVERRIDE 'light' (glued, ≥5 chars, substring) | controllable-override | yes | lighting | tuya | true | switchDesired | Yes | Lighting -> ctl | Accepted -> switchDesired | Glued form: 'light' is ≥5 chars so matchAssetIntent substring already matches -> kind lighting. Override lets it through. Consistent code & design.
3 | gk-6261-cellar-fan-1 | (same) | REFRIG_LOCATION 'cellar' + CTRL_OVERRIDE 'fan' (hyphenated -> exact token 'fan') | controllable-override | yes | fan | tuya | true | switchDesired | Yes | Fan -> ctl | Accepted -> switchDesired | Hyphenated: tokens=[...,'fan',...] so matchAssetIntent exact-match 'fan' -> kind fan. Override lets it through. Consistent code & design.
3 | gk-6261-cellarfan-1 | (same) | REFRIG_LOCATION 'cellar' + CTRL_OVERRIDE 'fan' (glued short token, substring) | controllable-override | yes | kitchen (design test expects 'fan') | tuya | true | switchDesired | Yes | Kitchen -> ctl (NOT Fan tile — see note) | Accepted -> switchDesired | *** CODE-VS-DESIGN CONTRADICTION *** Deny override uses SUBSTRING so 'fan' in 'cellarfan' => override true => correctly NOT denied (stays controllable — the safety-critical outcome). BUT matchAssetIntent keeps EXACT-only for ≤3-char tokens (tb-device.js:258), so 'fan' does NOT glue-match 'cellarfan'; kind falls back to 'kitchen' from the capability-first switch branch, NOT 'fan'. Design §8.1/§9.2 assert kind:'fan' — that kind assertion FAILS unless matchAssetIntent is also updated. controllable/deviceType/button correct; only kind label + which scope tile lights differ.
3 | gk-6261-cellarlgt-1 | (same) | REFRIG_LOCATION 'cellar' + CTRL_OVERRIDE 'lgt' (glued short token, substring) | controllable-override | yes | kitchen (design test expects 'lighting') | tuya | true | switchDesired | Yes | Kitchen -> ctl (NOT Lighting tile — see note) | Accepted -> switchDesired | *** CODE-VS-DESIGN CONTRADICTION (same class as cellarfan-1) *** 'lgt' substring override => correctly controllable. BUT matchAssetIntent exact-only ≤3 chars => 'lgt' does not glue-match 'cellarlgt' => kind 'kitchen', not 'lighting'. Design §8.1 asserts kind:'lighting' -> FAILS without a matchAssetIntent change. Safety outcome (controllable, button, guard) correct.
3 | gk-6261-cellar-socket-1 | (same) | REFRIG_LOCATION 'cellar' + CTRL_OVERRIDE 'socket' (≥5 chars, substring) | controllable-override | yes | kitchen | tuya | true | switchDesired | Yes | Kitchen -> ctl | Accepted -> switchDesired | Override 'socket' wins over location. No ASSET_INTENT 'socket' token, so post-deny kind = kitchen (capability-first switch). controllable correct.
4 | gk-6261-fridge-light-circuit | (same) | REFRIG_APPLIANCE 'fridge' AND CTRL_OVERRIDE 'light' both present | appliance-noun (+ override present but not consulted) | yes | fridge | refrigeration | false | null | No | No (fridge kind) | Rejected — monitor-only | APPLIANCE-ABSOLUTISM ASSUMPTION (design §3.2, CR3-verified): hasAppliance returns the deny with NO override consulted, so 'light' is ignored. Deliberately fail-closed. Rests on the assumption 'no controllable circuit carries a refrigeration noun' — verified against live names at CR3.
4 | gk-6261-refrigeration-floor-socket | (same) | REFRIG_APPLIANCE 'refrigeration' AND CTRL_OVERRIDE 'socket' both present | appliance-noun (+ override present but not consulted) | yes | fridge | refrigeration | false | null | No | No (fridge kind) | Rejected — monitor-only | Appliance-absolutism: 'refrigeration' short-circuits to deny before override; 'socket' ignored. Fail-closed; CR3 estate-name check confirms no real controllable circuit is so named.
5 | gk-6209fryer-1 | (same) | telemetry switch signal; ASSET_INTENT kitchen token 'fryer'; no refrig/cellar token | none-of-these (genuine kitchen) | yes | kitchen | tuya | true | switchDesired | Yes | Kitchen -> ctl | Accepted -> switchDesired | Deny does not fire (no appliance/location/profile match). Capability-first switch + name intent = kitchen/tuya. UNCHANGED by the deny. Consistent code & design.
5 | gk-6209-grill-1 | (same) | telemetry switch signal; ASSET_INTENT kitchen token 'grill'; no refrig/cellar token | none-of-these (genuine kitchen) | yes | kitchen | tuya | true | switchDesired | Yes | Kitchen -> ctl | Accepted -> switchDesired | Deny does not fire (no appliance/location/profile match). Capability-first switch + name intent = kitchen/tuya. UNCHANGED by the deny. Consistent code & design.
5 | gk-6209-oven-1 | (same) | telemetry switch signal; ASSET_INTENT kitchen token 'oven'; no refrig/cellar token | none-of-these (genuine kitchen) | yes | kitchen | tuya | true | switchDesired | Yes | Kitchen -> ctl | Accepted -> switchDesired | Deny does not fire (no appliance/location/profile match). Capability-first switch + name intent = kitchen/tuya. UNCHANGED by the deny. Consistent code & design.
5 | gk-6209-bainmarie-1 | (same) | telemetry switch signal; ASSET_INTENT kitchen token 'bainmarie'; no refrig/cellar token | none-of-these (genuine kitchen) | yes | kitchen | tuya | true | switchDesired | Yes | Kitchen -> ctl | Accepted -> switchDesired | Deny does not fire (no appliance/location/profile match). Capability-first switch + name intent = kitchen/tuya. UNCHANGED by the deny. Consistent code & design.
5 | gk-6209-potwash-1 | (same) | telemetry switch signal; ASSET_INTENT kitchen token 'potwash'; no refrig/cellar token | none-of-these (genuine kitchen) | yes | kitchen | tuya | true | switchDesired | Yes | Kitchen -> ctl | Accepted -> switchDesired | Deny does not fire (no appliance/location/profile match). Capability-first switch + name intent = kitchen/tuya. UNCHANGED by the deny. Consistent code & design.
5 | gk-6209-dishwash-1 | (same) | telemetry switch signal; ASSET_INTENT kitchen token 'dishwash'; no refrig/cellar token | none-of-these (genuine kitchen) | yes | kitchen | tuya | true | switchDesired | Yes | Kitchen -> ctl | Accepted -> switchDesired | Deny does not fire (no appliance/location/profile match). Capability-first switch + name intent = kitchen/tuya. UNCHANGED by the deny. Consistent code & design.
6 | gk-6209-light-1 | (same) | switch signal; ASSET_INTENT 'light'; no refrig/cellar token | none-of-these | yes | lighting | tuya | true | switchDesired | Yes | Lighting -> ctl | Accepted -> switchDesired | Deny does not fire. UNCHANGED. Consistent code & design.
6 | gk-6209-lighting-1 | (same) | switch signal; ASSET_INTENT 'lighting' | none-of-these | yes | lighting | tuya | true | switchDesired | Yes | Lighting -> ctl | Accepted -> switchDesired | Deny does not fire. UNCHANGED.
6 | gk-6209-extractor-1 | (same) | switch signal; ASSET_INTENT 'extractor' | none-of-these | yes | fan | tuya | true | switchDesired | Yes | Fan -> ctl | Accepted -> switchDesired | Deny does not fire. UNCHANGED.
6 | gk-6209-extractfan-1 | (same) | switch signal; ASSET_INTENT 'extractfan' (≥10 chars, substring) | none-of-these | yes | fan | tuya | true | switchDesired | Yes | Fan -> ctl | Accepted -> switchDesired | Deny does not fire. UNCHANGED.
6 | gk-6209-fan-1 | (same) | switch signal; ASSET_INTENT 'fan' (exact token) | none-of-these | yes | fan | tuya | true | switchDesired | Yes | Fan -> ctl | Accepted -> switchDesired | Deny does not fire. 'fan' exact token matches. UNCHANGED.
7 | gk-6261-salusit700-1 | (same) | telemetry heatingSetpoint present; ASSET_INTENT 'salusit700'; no refrig/cellar token | none-of-these (heating) | no (setpoint device) | heating | salus-it700 | true | setpointDesired (+ frost) | No (setpoint control, not a switch) | Heating -> ctl | Rejected for 'switch' — 'Salus IT700 does not support remote on/off switching' (setpoint/frost accepted separately) | Deny does not fire (no refrig/cellar token). Setpoint controllability requires heatingSetpoint present. UNCHANGED by the deny. Consistent code & design.
7 | gk-6261-salusit500-1 | (same) | heatingSetpoint present; ASSET_INTENT 'salusit500' | none-of-these (heating) | no | heating | salus-it500 | true | setpointDesired (+ frost) | No | Heating -> ctl | Rejected for 'switch' — label does not support switching (setpoint/frost accepted) | Deny does not fire. UNCHANGED.
7 | gk-6261-intesis-1 | (same) | heatingSetpoint present; ASSET_INTENT 'intesis' | none-of-these (heating/AC) | no | heating | intesis | true | setpointDesired (mode/off HELD) | No | Heating -> ctl | Rejected for 'switch' AND 'mode' — intesis commands=['setpoint'] only; mode/on-off HELD (D10) | Deny does not fire. Intesis-off-held is a separate existing safety hold, independent of this deny. UNCHANGED.
7 | gk-6261-hwboost-1 (DHW) | (same) | hot-water device; registry salus-it500-dhw; hotWater telemetry drives HW flow | none-of-these (hot water) | no | heating/hotwater flow | salus-it500-dhw | true | hwBoostHoursDesired | No | Hot water -> ctl (if DHW controllable) | Rejected for 'switch' — DHW commands=['hwboost']; hwboost accepted (0-9 whole hrs) | Deny does not fire (no refrig/cellar token). Hot-water boost path untouched by the deny. UNCHANGED.
8 | gk-6261-cellar-switch-1 | (same) | REFRIG_LOCATION 'cellar' + generic power word 'switch' (EXCLUDED from CTRL_OVERRIDE) | generic-switch-word | yes | fridge | refrigeration | false | null | No | No (fridge kind) | Rejected — monitor-only | PROPOSED TIGHTENING (design §3.2, pending James): bare switch/relay/contactor/powerpause dropped from override. hasLocation true, override false => deny true => monitor-only (fail-closed, could be the cooling relay). Gated on fixture proving no real site affected. CODE-VS-DESIGN: CURRENT code -> these tokens ARE in ASSET_INTENT 'Power circuit' -> kitchen/tuya/controllable.
8 | gk-6261-cellar-relay-1 | (same) | REFRIG_LOCATION 'cellar' + generic power word 'relay' (EXCLUDED from CTRL_OVERRIDE) | generic-switch-word | yes | fridge | refrigeration | false | null | No | No (fridge kind) | Rejected — monitor-only | PROPOSED TIGHTENING (design §3.2, pending James): bare switch/relay/contactor/powerpause dropped from override. hasLocation true, override false => deny true => monitor-only (fail-closed, could be the cooling relay). Gated on fixture proving no real site affected. CODE-VS-DESIGN: CURRENT code -> these tokens ARE in ASSET_INTENT 'Power circuit' -> kitchen/tuya/controllable.
8 | gk-6261-cellar-contactor-1 | (same) | REFRIG_LOCATION 'cellar' + generic power word 'contactor' (EXCLUDED from CTRL_OVERRIDE) | generic-switch-word | yes | fridge | refrigeration | false | null | No | No (fridge kind) | Rejected — monitor-only | PROPOSED TIGHTENING (design §3.2, pending James): bare switch/relay/contactor/powerpause dropped from override. hasLocation true, override false => deny true => monitor-only (fail-closed, could be the cooling relay). Gated on fixture proving no real site affected. CODE-VS-DESIGN: CURRENT code -> these tokens ARE in ASSET_INTENT 'Power circuit' -> kitchen/tuya/controllable.
8 | gk-6261-cellar-powerpause-1 | (same) | REFRIG_LOCATION 'cellar' + generic power word 'powerpause' (EXCLUDED from CTRL_OVERRIDE) | generic-switch-word | yes | fridge | refrigeration | false | null | No | No (fridge kind) | Rejected — monitor-only | PROPOSED TIGHTENING (design §3.2, pending James): bare switch/relay/contactor/powerpause dropped from override. hasLocation true, override false => deny true => monitor-only (fail-closed, could be the cooling relay). Gated on fixture proving no real site affected. CODE-VS-DESIGN: CURRENT code -> these tokens ARE in ASSET_INTENT 'Power circuit' -> kitchen/tuya/controllable.
8 | gk-6209-switch-1 (non-cellar, contrast) | (same) | generic power word 'switch'; NO cellar/refrig token | generic-switch-word (no location) | yes | kitchen | tuya | true | switchDesired | Yes | Kitchen -> ctl | Accepted -> switchDesired | Contrast row: the tightening only affects CELLAR devices. A non-cellar generic power circuit is NOT denied (no location/appliance/profile match) and stays controllable. UNCHANGED.
9 | gk-6261-a1b2c3d4 (opaque id) | (same) | NO recognised token; profile UNCONFIRMED (REFRIG_PROFILES empty until CR3); telemetry switch present | none-of-these (opaque) | yes | kitchen | tuya | true | switchDesired | Yes (harmless while WRITES_DISABLED=true) | Kitchen -> ctl | Accepted -> switchDesired (would write if writes were unlocked) | KNOWN RESIDUAL GAP (design §9): a physically-cellar unit named only by an opaque id, profile not yet confirmed, evades the name-deny (hasAppliance/hasLocation false) and the profile-deny (REFRIG_PROFILES empty). Still classifies tuya/kitchen/controllable. Closes once CR3 confirms the profile string and REFRIG_PROFILES is populated (profile-deny then catches it regardless of name). Harmless now: WRITES_DISABLED='true' blocks any actual dispatch.

## Legend & assumptions
Cellar / refrigeration deny rule — classification mapping (legend & assumptions)
Source of truth: services/tb-device.js (classifyDevice, normaliseName, hasSwitchSignal, matchAssetIntent) and services/registry.js (REGISTRY, validateCommand), verified at app v1.2.4, 2026-09-23.
Design: docs/project/releases/DESIGN_cellar-switch-removal.md (Stream A). WRITES_DISABLED='true' throughout — no live dispatch occurs.
Reading the mapping: the Resulting kind / deviceType / controllable / control / button / write-guard columns show the DESIGNED POST-FIX outcome (the deny rule James asked to see). The deny logic and the 'refrigeration' registry type are DESIGN-ONLY — not yet in the running code. Where current code differs (including the live leak it fixes), the notes column says so explicitly.
1. normaliseName (tb-device.js:104-111) — what the deny matches over
Lower-cases; strips parenthetical cross-refs (…(5135)…); maps '_' -> '-'; collapses whitespace; trims. It does NOT map '-' -> space and does NOT map '_' -> space. Consequence: 'cold-room' and 'cold_room' both normalise to 'cold-room'; 'coldroom' stays 'coldroom'; 'cold room' keeps its space. All matching is norm.includes(token) over this normalised string. Tokens for matchAssetIntent are split on /[-\s]+/.
2. Token sets (design §3.1-3.3)
REFRIG_APPLIANCE (always monitor-only): fridge, freezer, chiller, coldroom, cold-room, cold room, refrigeration, refrig. Matched as substrings of norm; all three cold-room shapes listed so every written form is caught.
REFRIG_LOCATION (monitor-only UNLESS a controllable-override token is also present): cellar.
REFRIG_PROFILES (additive deny signal): EMPTY until CR3 confirms the live cellar profile string. Empty = fail-closed (inert); a FIXME(CR3) + a test that fails once the probe artefact exists but the list is still empty prevent it being forgotten.
CTRL_OVERRIDE (wins over location/profile, NOT over an appliance noun): light, lighting, lgt, fan, extractfan, extractor, socket, fryer, grill, bainmarie, potwash, oven, dishwash. Every token — INCLUDING the short ones (fan, lgt) — is substring-matched inside the deny, so glued forms (cellarfan-1, cellarlgt-1) are recognised as controllable.
EXCLUDED from CTRL_OVERRIDE (proposed tightening): switch, relay, contactor, powerpause, tongou, owon — a cellar device carrying only a generic power word is ambiguous (could be the cooling relay) so it fails closed to monitor-only.
Switch telemetry keys (hasSwitchSignal, tb-device.js:184-187): switchReported, switchOn, switch_1, switch — this is the PROBLEM signal the deny overrides, never part of the deny key. Note: a value of false still counts as 'present'.
3. Precedence order (design §3.4)
refrigeration deny > capability-first switch intent > name asset-intent.
isRefrigerationDeny(norm, profile) is the FIRST branch of classifyDevice and returns early. Logic: hasAppliance = any REFRIG_APPLIANCE substring; hasLocation = any REFRIG_LOCATION substring; hasProfile = any REFRIG_PROFILES substring of the profile. If none -> not refrigeration (return false). If hasAppliance -> return true (override NOT consulted). Otherwise (location/profile only) -> override = any CTRL_OVERRIDE substring; return NOT override. A denied device returns kind:'fridge', deviceType:'refrigeration', controllable:false, control:null.
4. Registry backstop (design §4; registry.js)
New type 'refrigeration' with commands:[]. Empty commands => capabilities:[] on the workspace payload => client draws no Turn OFF button (flows.js:201-203) and the write guard's switch case rejects (registry.js:103). A second, independent check refuses a switch when deviceType==='refrigeration' even if the command list were ever changed (defence-in-depth). NB: until this key is added, current validateCommand returns 'Unknown device type "refrigeration"' — still fail-closed, but with a generic reason.
5. Appliance-absolutism assumption (design §3.2 — stated, CR3-verified)
Because hasAppliance returns the deny with no override consulted, a name carrying BOTH a refrigeration noun AND a controllable token (e.g. fridge-light-circuit, refrigeration-floor-socket) is forced monitor-only. This is deliberate fail-closed behaviour resting on the assumption: NO controllable circuit in the estate carries a refrigeration appliance noun in its name. CR3 checklist item verifies this against live names; any counter-example needs an explicit allow-exception before build lands.
6. Proposed tightening (design §3.2 / §10 — pending James)
Discovery listed switch/socket as example override tokens; this design keeps socket but drops bare switch/relay/contactor/powerpause from the cellar override. Gated on a fixture (test/fixtures/known-cellar-switch-names.json) proving no real controllable cellar circuit is named with only a bare power word. Marked PROPOSED — confirm or widen back at gate.
7. CR3 dependency & residual gap (design §9)
The live cellar device names, profile string and telemetry keys are UNVERIFIED. CR3 is the first build step: a read-only ThingsBoard probe records them and populates REFRIG_PROFILES. Until then the design is fail-closed on names alone. Residual gap: a physically-cellar unit named only by an opaque id (no recognised token) with an unconfirmed profile still classifies controllable (tuya/kitchen) — harmless while WRITES_DISABLED='true'; closed once REFRIG_PROFILES is populated so the profile-deny catches it regardless of name.
8. CODE-VS-DESIGN discrepancies found while building this mapping (flag to orchestrator)
(a) Glued short-token override forms — cellarfan-1, cellarlgt-1: the deny's SUBSTRING override correctly keeps them CONTROLLABLE (the safety-critical outcome), but matchAssetIntent still uses EXACT-only matching for ≤3-char tokens (tb-device.js:258), so 'fan'/'lgt' do NOT glue-match. Their resulting KIND falls back to 'kitchen' (capability-first switch branch), NOT 'fan'/'lighting' as design §8.1/§9.2 assert. Those kind assertions (and which scope tile lights: Kitchen not Fan/Lighting) will FAIL unless matchAssetIntent is also updated to substring-match short override tokens. controllable / deviceType / Turn OFF button / write-guard are all correct.
(b) The deny rule and the 'refrigeration' registry type do not yet exist in the running code — this mapping is the DESIGNED post-fix behaviour. Current runtime still exhibits the leak (cellar/fridge + switch -> kitchen/tuya/controllable with a live Turn OFF).